## Slide 1
LM324
Water Sensor
Rack 1
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
3
4
1
2
1
2
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 2
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
5
7
6
4
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 3
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
10
8
9
5
6
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 4
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
14
11
12
13
9
8
330Ω
330Ω
Blue LED
Red LED
1N4148
LM7812
15KΩ
Manual Alarm
Test (Push Switch)
LM324
Water Sensor
Rack 5
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
3
11
4
1
2
1
2
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 6
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 7
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
5
6
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 8
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
9
8
330Ω
330Ω
Blue LED
Red LED
1N4148
LM324
Water Sensor
Rack 9
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
3
11
4
1
2
1
2
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 10
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
3
4
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 11
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
5
6
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 12
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
9
8
330Ω
330Ω
Blue LED
Red LED
1N4148
LM324
Water Sensor
Rack 13
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
3
11
4
1
2
1
2
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 14
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
3
4
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 15
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
5
6
330Ω
330Ω
Blue LED
Red LED
1N4148
Water Sensor
Rack 16
“D” Type 9 Pin Connector Male & Female
CD4069
100KΩ
100KΩ
5.1V Zener
Diode
6.8KΩ
11
9
8
330Ω
330Ω
Blue LED
Red LED
1N4148
1N4148
12V, 400Ω Relay
NO
NC
2200µfd/25V
470µfd/25V
0.22ηfd
1KΩ
Power ON
LED
1Ω 5Watt
12V Electronic Hooter
Alarm ON/OFF
Switch
(Always ON
Position)
1KΩ
Alarm ON LED
BD139
3
1
2
Input 230V AC
50Hz
AC Fuse
3A
230V AC Primary To 12V AC 2A Secondary Transformer
Power ON/OFF
Switch
4X1N5404
0V
12V
5
7
6
10
8
9
14
11
12
13
5
7
6
10
8
9
14
11
12
13
5
7
6
10
8
9
14
12
13
3
3
4
100Ω
100Ω
100Ω
100Ω
100Ω
100Ω
100Ω
100Ω
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
1N4148
LM7812
3
1
2
1N4148
1N4148
Rack 1
Rack 2
Rack 3
Rack 4
Rack 5
Rack 6
Rack 7
Rack 8
Rack 9
Rack 10
Rack 11
Rack 12
Rack 13
Rack 14
Rack 15
Rack 16
Circuit diagram of Water Leakage Detection System (WLDS)