## Slide 1
RACK NO. 16
IPDU-32
IPDU-31
RACK NO. 15
IPDU-30
IPDU-29
RACK NO. 14
IPDU-28
IPDU-27
RACK NO. 13
IPDU-26
IPDU-25
RACK NO. 12
IPDU-24
IPDU-23
RACK NO. 11
IPDU-22
IPDU-21
RACK NO. 10
IPDU-20
IPDU-19
RACK NO. 09
IPDU-18
IPDU-17
RACK NO. 08
IPDU-16
IPDU-15
RACK NO. 07
IPDU-14
IPDU-13
RACK NO. 06
IPDU-12
IPDU-11
RACK NO. 05
IPDU-10
IPDU-09
RACK NO. 04
IPDU-08
IPDU-07
RACK NO. 03
IPDU-06
IPDU-05
RACK NO. 02
IPDU-04
IPDU-03
RACK NO. 01
IPDU-02
IPDU-01
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-1 MCB-8
-----
IPDU31
IPDU32
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-1 MCB-7
-----
IPDU29
IPDU30
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-1 MCB-6
IPDU28
IPDU27
-----
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-1 MCB-5
-----
IPDU26
-----
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B B
I/C from
SDP-1 MCB-4
-----
IPDU23
----
----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-1 MCB-3
-----
IPDU22
IPDU21
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B Y
I/C from
SDP-1 MCB-2
IPDU19
-----
IPDU20
----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-1 MCB-1
-----
-----
-----
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
I/C from
UPS-4 (CLS IV)
IPDU18
IPDU17
-----
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-2 MCB-6
-----
-----
IPDU15
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-2 MCB-5
IPDU14
-----
IPDU 13
----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-2 MCB-4
-----
----
-----
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
I/C from
UPS -1 (CLS III)
IPDU 12
-----
IPDU 7
IPDU 10
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
I/C from
UPS-2 (CLS III)
N/W --
switch
IPDU 11
IPDU 8
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
I/C from
UPS-3 (CLS IV)
-----
-----
IPDU 9
Consol
monitors
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-2 MCB-3
IPDU 5
IPDU 6
KMS
servers
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-2 MCB-2
IPDU 3
-----
IPDU 4
-----
FLOOR MOUNTED DISTRIBUTION BOX
O/P1
O/P2
O/P3
O/P4
R Y B R
I/C from
SDP-2 MCB-1
IPDU 1
IPDU 2
-----
-----
EMPTY
NODE NO.S 369-400
NODE NO.S 337-368
NODE NO.S 305-336
NODE NO.S 273-304
NODE NO.S 241-272
NODE NO.S 201-240
NODE NO.S 177-200
Manegment Node
Tape Library-1,2,3
EMPTY
NODE NO.S 137-176
NODE NO.S 97-136
HEAD-1, MDS,OSS.
HEAD-2, Infiniband s/w
NODE NO.S 65-96
NODE NO.S 33-64
NODE NO.S 1-32
UPS-1 ( 20KVa )
CLASS –III (DG)
Batteries Replaced
on 25/07/2019
UPS-2 ( 20KVa )
CLASS –III (DG)
Batteries Replaced
on 09/10/2018
UPS-3 ( 20KVa )
CLASS –IV (RAW)
Batteries Replaced
on 01/02/2019
UPS-4 ( 20KVa )
CLASS –IV (RAW)
Batteries Replaced
on 01/02/2019
Updated on 01.01.2020